MACRO-PROCESS: PACKAGING

Sub-case B5: Desiccation

| OBJECTIVE | This procedure describes the tasks to be performed to desiccate the samples for ex situ conservation. |  |
| --- | --- | --- |
| ACCOUNTABLE | Curator |  |
| RELATIONS | SUPPLIERS | Curator |
|  | CLIENTS | Curator |
| RECORDS | INPUT | Sample cleaned and sanitized and determination of the degree of humidity. Sample form file. |
|  | OUTPUT | Dry seeds, form filled in with the necessary data |
| ENVIRONMENTAL FACTORS | FACILITIES AND WORKING ENVIRONMENT | Genebank facilities. Workshops and Laboratory. |
|  | ENVIRONMENTAL IMPACT | Electricity consumption, paper consumption, water consumption. |
| ASSOCIATED DOCUMENTATION | - Disdryer Cabinet Instruction Manual |  |
| INDICATORS | INDICATOR |  |
|  | ACCOUNTABLE |  |
|  | FREQUENCY |  |
|  | PRESENTATION |  |
|  | RELATIONSHIP WITH OBJECTIVES |  |

INDICATIONS

(1)	When the color change of the silica gel no longer occurs, the seed is considered to be dry, which implies that its percentage of moisture fluctuates between 3 and 5 %. This dissection process lasts between one month and six weeks, depending on the size of the seed and the volume of the sample.

START

Seed size?

Use of cylindrical vessels with silica gel

END

Small

Small seeds

Big

Use of dissecting cabinets

Color Changing Silica Gel

Large seeds

Silica Gel Change

Obtaining dried seeds (1)

Storage

Yes

No

Sample sheet

Sample sheet

Dried seed

Modified file