MACRO-PROCESS: CONSERVATION

Sub-process C3: Viability Control

| OBJECTIVE | This procedure describes the process to be followed to determine the viability of the conserved samples. |  |
| --- | --- | --- |
| ACCOUNTABLE | Curator |  |
| RELATIONS | SUPPLIERS | Curator |
|  | CLIENTS | Multiplier |
| RECORDS | INPUT | Conserved Entries |
|  | OUTPUT | Seeds used, modified file. |
| ENVIRONMENTAL FACTORS | FACILITIES AND WORKING ENVIRONMENT | Workshops and Laboratory. |
|  | ENVIRONMENTAL IMPACT | Water consumption, electricity consumption, paper consumption |
| ASSOCIATED DOCUMENTATION | - ISTA Rule Testing, 2003 - ISTA Handbook Seedling Evaluation, 2003 - Instruction Manual for the P-Selecta germinator, Hotcold-gl 2101507. |  |
| INDICATORS | INDICATOR | THERE IS NONE |
|  | ACCOUNTABLE |  |
|  | FREQUENCY |  |
|  | PRESENTATION |  |
|  | RELATIONSHIP WITH OBJECTIVES |  |

(1)	The seeds should be stored outside the chamber between one day and one week before the test, under ambient temperature and humidity conditions, and should be placed in paper envelopes, or in the same Petri dishes or trays that will be used in the experiment.

(2). To carry out the experiment, several replicates are prepared, at least two, depending on the number of seeds used.

(3). The standards established by ISTA for the determination of the normality of germinated seedlings and the peculiarities of each species will be followed. To do this, you should consult the books mentioned in the associated documentation.

(4). Once the two counts have been carried out, the used seeds will be eliminated. The used material will be treated according to the instructions established in the cleaning protocol for its subsequent reuse.

(5). This viability check process shall be carried out periodically for each entry; The schedule, however, is not defined, but it is estimated to be around every 5 years. The first control will be carried out on the original sample and the following with seeds from the different multiplications.

START

Routine process

Conserved Entries

Germinator Usage (2)

Perform two counts on different dates, depending on the species (3)

Modified file

Germination percentage

Greater than or equal to 85%

Less than 85%

Regeneration

Usually, 100 seeds will be selected from the sample

Keep seeds in proper condition (1)

Seeds used (4)

Conservation